## Sheet1
Emergency Review Checklist Date ____________________________
Earthquake | Completed | By whom
Shelves fastened securely to walls | □
Water heaters strapped to wall studs or bolted to the floor in each unit | □
Overhead light fixtures braced (if applicable) | □
Cracks along foundation are inspected and repaired | □
Flammable liquids (weed killers, gasoline, pesticides) are stored in a secure cabinet | □
Gas, electrical, and water connections are strong and easy to locate | □
Fire
Fire department contact information is current and posted in commons areas | □
Fire and smoke detectors in each unit and common areas installed and checked | □
Flammable debris (branches, grasses, garbage) cleared from property | □
Fire extinguishers charged and inspected (tags are current, not expired) | □
Gas and electrical shutoff valve/switch unblocked and easily accessible | □
Flammable liquids are properly stored | □
Insurance policy is updated and adequate | □
Evacuation routes are clear and free from obstacles (halls, stairs, and fire lanes) | □
Fire alarms checked regularly (including alarms for deaf or hard of hearing) | □
Winter storms
Branches over power lines and buildings are trimmed | □
Sidewalks are maintained (proper grade, even, and free from potholes) | □
Roof shingles are properly installed and in adequate shape | □
Drainage ways are clear from blockages (storm drain, sewer, rain gutters, etc.) | □
HVAC filters checked and replaced if necessary | □
Furnaces and boilers are checked and tested for safety and efficiency | □
Windows in each unit are free from cracks and holes | □
Doors and windows in each unit are properly caulked and weather-stripped | □
Carbon monoxide detectors are installed in each unit and checked | □
Insulation installed in attics, exterior walls, and around pipes is sufficient | □
Power outage
Current contact information of power is company posted in office | □
Alternate forms of communication established and reviewed | □
Accessible electrical panel | □
Generators serviced and well-ventilated (where available) | □
Battery-based emergency lighting installed and tested (where available) | □
Flood
Adequate flood insurance (if available) | □
Cleared sewer and drain lines, with installed and functioning check-valves | □
Rain gutter downspouts are directed away from foundation | □
Nearby creeks and irrigation canals are identified and checked for strength | □
Shovels and empty sandbags are stored on-site (if available) | □
Man-made disasters
Current contact information of emergency officials | □
Review shelter-in-place procedures | □
All exterior lights are functional and provide adequate lighting | □
Accessible shut off switches for any central HVAC air intake fans | □